## Slide 1: Imágenes paralelas
Agrega información de bobinas

## Slide 2: Multi-coil imaging
Coil 1
Coil 4
Coil 2
Coil 3

## Slide 3: Coil sensitivity:

## Slide 4: Image reconstructed from each coil
Coil sensitivity (magnitude and phase)
Object
Noise (coil dependent)

## Slide 5: Images per coil
?

## Slide 6: Pixel per pixel reconstruction
For pixel
And putting together the information of each coil:

## Slide 7: Pixel per pixel reconstruction
Let be the noise correlation, inverting
for minimum covariance is

## Slide 8: Pixel per pixel reconstruction
Let be the noise correlation, inverting
for minimum covariance is
Covariance of
Much less than noise in each coil

## Slide 9: Pixel per pixel reconstruction
If
Intensity correction
Phase correction
This is known as Sum of Squares (SS)

## Slide 10: Images per coil

## Slide 11: Imágenes paralelas

## Slide 12: Usar información de bobinas
La ambigüedad del submuestreo puede ser compensada con la redundancia de información de las bobinas

## Slide 13: Imágenes paralelas
En el dominio de la imagen
SENSE
En el dominio de Fourier
SMASH, GRAPPA

## Slide 14: Parallel Imaging: hardware and maths
Daniel K. Sodickson
1997
Klaas P. Pruessmann 1999

## Slide 15: Submuestreo introduce ambigüedad
Kyung Sung, Advanced Topics in MRI

## Slide 16: Two-fold undersampling
Solve for two unknowns and L equation

## Slide 17: SENSE Reconstruction
Kyung Sung, Advanced Topics in MRI

## Slide 18: Solves RxR inverse system per pixel
Undersampling factor R limits:
SNR loss mechanisms
  Reduced scan time
  SENSE condition: geometric factor g

## Slide 19: Noise

## Slide 20: g maps for different R’s

## Slide 21: GRAPPA (in k-space domain)
Mriquestions.com

## Slide 22: Conclussions
Aliasing from undersampling can be unfold by employing multi-coil redundancy.
In image space: SENSE
In k-space: SMASH and GRAPPA
Accelaration factor: R (typically 2 to 5)
SNR loss of