## Slide 1: Off-resonance
Pablo Irarrazaval

## Slide 2: Off-resonance distortions
Haskell et al, NMR in Biomedicine 2022

## Slide 3: Off-resonance distortions
Andersson, in Magnetic Resonance Technology and Applications, 2021

## Slide 4: Topics
Off-resonance and its sources
Off-resonance effects
Off-resonance correction algorithms

## Slide 5: Off-resonance and its sources

## Slide 6: Off-resonance: what is it?
Expected field
Reality
Resonant frequency
Off-resonance

## Slide 7: Sources of off-resonance
Main field inhomogeneity
Magnetic susceptibility
Chemical shift

## Slide 8: Off-resonance: what produces it?
Main field inhomogneity
Magnetic susceptibility
Chemical shift
Construction – Site – Shimming
Low cost

## Slide 9: Off-resonance: what produces it?
Main field inhomogneity
Magnetic susceptibility
Chemical shift

## Slide 10: Off-resonance: what produces it?
Main field inhomogneity
Magnetic susceptibility
Chemical shift
https://mriquestions.com/

## Slide 11: Signal equation and field strength
For example, fat has a 3.5 ppm shift
At 1.5T this is 224 Hz
At 3.0T this is 448 Hz

## Slide 12: Off-resonance effects

## Slide 13: Signal equation and effects
Let the off-resonance be p(x) in Hz:
Effects:
Signal loss
Geometric distortions
Blurring

## Slide 14: Off-resonance effect: signal loss
Let the off-resonance be p(x) in Hz:
Haskell et al, NMR in Biomedicine 2022
dephasing within a voxel

## Slide 15: Off-resonance effect: Geometric distortion
Let the off-resonance be p(x) in Hz:
phase encoding no longer linear. If Cartesian encoding:
https://mriquestions.com/

## Slide 16: Off-resonance effect: Blurring
Let the off-resonance be p(x) in Hz:
phase encoding no longer linear.
If non-uniform encoding, k-space positions are no longer well-defined.
Börnert, JMRI 2010

## Slide 17: Off-resonance correction

## Slide 18: Field map approximations
Linear
Piecewise constant
Others

## Slide 19: Field map approximations
Linear
Piecewise constant
Uncorrected
Corrected
Irarrazabal, MRM, 1996

## Slide 20: Field map approximations
Linear
Piecewise constant
(Frequency Segmented)
Uncorrected
Corrected
Noll, IEEE TMI, 1991; Man, MRM, 1997
Multifrequency Interpolation (MFI)

## Slide 21: Time map approximations
Linear
Piecewise constant

## Slide 22: Time map approximations
Linear
Piecewise constant
Uncorrected
Corrected
Akel, MRI, 2002

## Slide 23: Time map approximations
Linear
Piecewise constant
(Time segmented)
Uncorrected
Corrected
Noll, IEEE TMI, 1991

## Slide 24: Conjugate Phase Reconstruction (CPR)
These are all approximations of the Conjugate Phase. They allow faster computation in comparison with multiplying by the conjugate matrix: O(N^2).

## Slide 25: Off-resonance
Pablo Irarrazaval